|  |  |  |  |
| --- | --- | --- | --- |
| **S/No** | **Equipment & Instrument** | **Number required** | **Specifications** |
|  | **Non Recurring Heads** |  |  |
| 1 | Cryo gun  | 1 | * The cryotips shall be rounded in shape and should be (19+/-2) mm in diameter
* The surface that contacts the tissue should be either flat or with a cone extrusion ( nipple shaped), not exceeding 5 mm (conical cryotips with extended nipple lengths shall not be used for treating precancerous cervical lesions)
 |
|  | C:\Users\Imran\Desktop\Screen Shot 2015-03-25 at 6.56.32 pm.pngC:\Users\Imran\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\IMG-20150324-WA0002.jpg |
|  |  |

Annexure-3

**List of CaCx Materials for Procurement with Specifications**

**List of Materials for Procurement with Specifications…….contd**

|  |  |  |  |
| --- | --- | --- | --- |
| 2 | Cylinder for Cryo gun | 3 |  Nitrous oxide (‘A’ size cylinder) |
|  | C:\Users\Imran\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\IMG-20150324-WA0003.jpg |
| 3 | Cusco’s Speculum | 23(in total) | Flat blades, Large size – 5, Medium size– 15, Small size – 3 |
|  | C:\Users\Imran\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\IMG-20150324-WA0000.jpg |
| 4 | Sponge Holder | 23 | 8 inches |
|  | C:\Users\Imran\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\IMG-20150324-WA0001.jpg |
| 5 | Torch (with halogen light)/halogen lamp | 1 | Standard size |
| 6 | Focus Light source (white light) | 1 |  |
| 6 | Cheatle’s forceps ‘ | 1 | Standard size |
| 7 | Instrument Tray & Drum | 2 each | Drum - 12 inches height 12 inch diameter, Tray – Stainless steel tray with lid for instrument set, large size. |
| 8 | BP Instrument | 1 | Digital good quality BP Instrument |
| 9 | Measuring Plastic cylinder /50 ml, 5 ml syringe. | 2-2 each | 100 ml capacity, Plastic Material  |
|  | C:\Users\Smita Joshi\Desktop\5syringe.jpgC:\Users\Smita Joshi\Desktop\c0739a4b-75f7-465d-9f26-ac7df6745052177.jpg |  |  |
| 10 | Glass Jars | 2 | 9 cm height ,6 cm mouth (Below given photograph) |
| 11 | Bowl (Stainless steel) | 2  | Standard size stainless steel bowl |
| 12 | Mackintosh/Rubber Sheet /Kelly’s pad | 2 | Standard size for examination table. |
| 13 | Gynae. Examination table with mattress | 1 | Standard dimensions (optional) |
| 14 | Cylinder stand | 1 | According to the size of cylinder |
| 15 | Glucometer | 1 |  |
| 16 | Hemoglobinometer | 1 |  |
| 18. | Measuring tape | 1 |  |
| 19. | Stadiometer | 1 |  |
|  | **Recurring Heads**  |  |  |
| A | Glacial Acetic Acid |  | -------- |
| B | Normal Saline |  | -------- |
| C | Distilled water |  | -------- |
| D | Liquid Soap  |  | -------- |
| E | Gloves |  | Disposable, clean, new |
| F | Bleaching powder |  | ----------- |
| G | IP Kit For preparation of bleaching solution (Two tubs,1 one liter mug ,I small plastic bowl, utility gloves - 1 pair, 1 Teaspoon) |  | ----------- |
| H | Cotton roll |  | Big bundle |
| I | Cotton tipped swabs |  | To be made at the centre |
| J | Glucometer strips |  |  |
| K | Hemoglobinometerstrips |  |  |
| L | Spirit swab |  |  |
|  | C:\Users\Smita Joshi\Desktop\IMG_20150312_132342.jpg |
|  | -----------------x--------------- |